**STEINEL Professional Accessory**

**Surface-mounting adapter for True Presence KNX**

Type of accessory: Surface-mounting enclosure presence detector; Dimensions (L x W x H): 28 x 118 x 118 mm; Material: Plastic; Colour: white; Colour, RAL: 9003; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841063887

**Manufacturer** Steinel

**Prod. No.** 063887

**Ordering designation**

Deliver, install and set ready for operation