**STEINEL Professional Sensor-switched LED floodlight**

**XLED PRO 240**

**warm white white V2**

Dimensions (L x W x H): 161 x 180 x 221 mm; Mains power supply: 220 – 240 V / 50 – 60 Hz; Mounting height max.: 6,00 m; Sensor Technology: passive infrared; Output: 20 W; Power consumption: 0,55 W; Interconnection: Yes; Switching output 1, resistive: 1000 W; Interconnection, number: maximum of 10 floodlights; Luminous flux: 2120 lm; Colour temperature: 3000 K; Colour variation LED: SDCM3; Colour Rendering Index: 80-89; With lamp: Yes, STEINEL LED system; Lamp: LED cannot be replaced; LED life expectancy (max. °C): 60000 h; Drop in luminous flux in accordance with LM80: L70B10; LED cooling system: HCMC (High Conductive Magnesium Composite); With motion detector: Yes; Detection angle: 240 °; Angle of aperture: 180 °; Sneak-by guard: Yes; Capability of masking out individual segments: Yes; Reach, radial: r = 3 m (19 m²); Reach, tangential: r = 12 m (302 m²); Photo-cell controller: Yes; Twilight setting: 2 – 2000 lx; Time setting: 10 sec – 15 min; Basic light level function: No; Main light adjustable: No; Settings via: Potentiometers; Soft light start: No; Continuous light: selectable; Impact resistance: IK03; IP-rating: IP44; Protection class: II; Ambient temperature: -20 – 40 °C; Housing material: HCMC; Cover material: Plastic, opal; Manufacturer's Warranty: 5 years; Includes corner wall mount: Yes; PU1, net weight: 0,64 kg; Version: warm white white; PU1, EAN: 4007841068073

**Manufacturer** Steinel

**Prod. No.** 068073

**Ordering designation**

Deliver, install and set ready for operation